Table of Contents

| Introduction......................................................................................... | 2 |
| --- | --- |
| Principle……………………………………………………………. | 2 |
| Storage and Stability........................................................................... | 2 |
| DNA Yield from Various Samples…………………………………. | 3 |
| Kit Contents........................................................................................ | 3 |
| Before Starting……………………………………………………… | 4 |
| A. Protocol for 100 μL whole blood…………………………………………………………....... | 5 |
| B. Protocol for 300 μL whole blood…………………………………………………………........ | 7 |
| C. Protocol for 600 μL whole blood…………………………………………………………....... | 9 |
| D. Protocol for 1 mL whole blood……………………………………………………………….. | 11 |
| E. Protocol for 3 mL whole bloodv……………………………………………………………… | 13 |
| F. Protocol for 5 mL whole blood………………………………………………………………... | 15 |
| G .Protocol for 12mL whole blood………………………………………………………………. | 17 |
| H. Protocol for Buffy coat……………………………………………………………………….. | 19 |
| I. Protocol for 50 μL Clotted Blood……………………………………………………………... | 21 |
| J. Protocol for 1 mL Clotted Blood…………………………………………………………… | 23 |
| K .Protocol for Large volume of Clotted Blood(>1 mL)………………………………………… | 25 |
| Determination of DNA Quality and Quantity…………….............. | 27 |
| Trouble Shooting Guide................................................................ | 28 |

Introduction

The EZgeneTM SQ Blood gDNA Kit is designed for isolating high molecular weight genomic DNA from fresh, frozen, and anticoagulated whole blood. The method can also be used for preparation of genomic DNA from buffy coat, bone marrow or cultured cells. The kit allows single or multiple, simultaneous processing of samples in under 90 minutes. There is no need for phenol/chloroform extractions, and time-consuming steps such as CsCl gradient ultracentrifugation are eliminated.

DNA purified using the EZgeneTM SQ Blood gDNA method is ready for applications such as PCR Southern blotting, and restriction digestion.

Principle

EZgeneTM SQ Blood gDNA Kit uses a highly efficient solution based system to provide a convenient, fast, reliable and non-toxic method to isolate high molecular weight genomic DNA from whole blood or buffy coat. Red blood cells are first lysed with Buffer ML, followed by lysis of the white blood cells and their nuclei in the Buffer NL. Cellular proteins are removed by precipitation and high molecular weight genomic DNA will remain in solution. High quality genomic DNA is then purified by isopropanol precipitation.

Storage and Stability

All components of the EZgeneTM SQ Blood gDNA Kit (except RNase A) should be stored at 22-25 ℃. RNase A should be stored at 4 ℃. Under cool ambient conditions, a precipitate may form in the Buffer NL. In case of such an event, heat the bottle at 55℃ to dissolve.

All EZgeneTM SQ Blood gDNA Kit components are guaranteed for at least 24 months from the date of purchase when stored at 22℃-25℃. RNase A should be stored at 4 ℃.

DNA Yields From Various Starting Materials

| Species and Material | Amount | Typical Yield |
| --- | --- | --- |
| Human Whole Blood (Yield varies depending on the quantity of white blood cells present) | 50 μL | 0.3-0.6 μg |
|  | 100 μL | 1-5 μg |
|  | 200 μL | 3-10 μg |
|  | 300 μL | 5-15 μg |
|  | 500 μL | 7-23 μg |
|  | 600 μL | 10-30 μg |
|  | 800 μL | 12-35 μg |
|  | 1 mL | 15-48 μg |
|  | 2 mL | 30-90 μg |
|  | 3 mL | 50-150 μg |
|  | 4 mL | 65-200 μg |
|  | 5 mL | 100-300 μg |
|  | 10 mL | 150-600 μg |
|  | 12 mL | 200-700 μg |
| Buffy Coat | from 300 μL blood | 5-15 μg |
|  | from 2 mL blood | 25-75 μg |
| Mouse Whole Blood | 50 μL | 0.2-0.6 μg |
|  | 100 μL | 0.5-1.0 μg |
|  | 200 μL | 2 -5 μg |
|  | 300 μL | 4–7 μg |
| Cultured Cells | 0.5-1 million cultured cells | 10-15 μg |

Kit Contents

| Product | GD2516-00 | GD2516-01 | GD2516-02 | GD2516-03 |
| --- | --- | --- | --- | --- |
| Total Blood Volume | 10 mL | 50 mL | 150 mL | 300 mL |
| 10 x Buffer ML | 10 mL | 50 mL | 130 mL | 250 mL |
| Buffer NL | 12 mL | 60 mL | 170 mL | 3 x 110 mL |
| Buffer P2 | 4 mL | 20 mL | 60 mL | 120 mL |
| Elution Buffer | 1.5 mL | 10 mL | 30 mL | 60 mL |
| RNase A | 50 μL | 250 μL | 750 μL | 1.5 mL |
| User Manual | 1 | 1 | 1 | 1 |

Before Starting

| IMPORTANT | Buffer ML is supplied as 10 x concentrate. Calculate the amount of buffer to be used and mix one part of 10 x Buffer ML with 9 part of ddH2O before use. |
| --- | --- |

Note: The procedures below have been optimized for use with FRESH or FROZEN blood samples. Anticoagulated blood or Buffy Coat can also be used. However, DNA yield will be reduced with time of storage. In addition, leukocytes or cultured cells may be used with this procedure.

Guideline for Sample and Volume of Reagents

The SQ Blood gDNA system is a solution based system and the protocol can be easily modified based on the sample volume. User can change the protocol based on the following guideline.

| Sample | Reagent Name | Reagent |
| --- | --- | --- |
| 1 x | Buffer ML | 3 x |
| 1 x | Buffer NL | 1 x |
| 1 x | Buffer P2 | 0.33 x |
| 1 x | Isopropanol | 1 x |
| 1 x | 70% ethanol | 1 x |
| 1 x | Elution Buffer | 0.35 x * |

For ≤ 300 µL blood volume, Volume of Elution Buffer used can be adjusted depends on the desired final concentration.

A. DNA Purification Protocol for 100 μL whole blood

Materials to be supplied by user

- Microcentrifuge capable of 14,000 x g

- Nuclease-free 1.5 mL microcentrifuge tubes

- Water Bath preset at 37 ℃ and 65 ℃

- Isopropanol

- 70% ethanol

Calculate the amount of Buffer ML to be used. Mix one part of 10 x Buffer ML with nine part of ddH2O before use.

- Add 100 μL whole blood (or bone marrow) to a nuclease-free 1.5 mL microcentrifuge tube containing 300 μL Buffer ML. Mix by inverting the tube a few times. Incubate 5 minutes at room temperature. Invert the tube several times during the incubation.

Note: Buffer ML is supplied as a 10 x concentrate and must be diluted with ddH2O according to bottle label or Page 4 above before use.

- Centrifuge at 13,000 x g for 30 seconds at room temperature. Remove and discard as much supernatant as possible without disturbing the visible white pellet. Leave about 10 μL of residue liquid in the tube. If the blood sample has been frozen, repeat Steps 1-2 until the pellet is white.

Note: If some red blood cells or cell debris are still visible along with the white blood cell pellet, resuspend the white blood cell pellet and mix with 2 volumes Buffer ML. Incubate 2 min at room temperature. Then pellet the white blood cells by repeating Step 2.

- Vortex the tube vigorously until the white blood cells are completely resuspended. Add 100 μL Buffer NL to the tube containing the resuspended cells. Pipet up and down to lyse the cells. The solution should become very viscous. Add 0.5 μL RNase A to the cell lysate, mix well by sharp hand shaking for 5 times and incubate the solution at 37℃ for 10 min.  If cell clumps are visible, incubate the lysate at 37(C for another 5-10 min.

- Cool the sample to room temperature.

- Add 33 μL Buffer P2 to the cell lysate.

- Vortex vigorously at high speed for 30 seconds to mix. Some protein clumps may be visible after vortexing. Incubate on ice for 5 minutes.

- Centrifuge at 13,000 rpm for 5 minutes at room temperature. The precipitated protein will form a tight, dark brown pellet. If the pellet is not tight or visible, incubate the tube on ice for 5 minutes and centrifuge at 13,000 rpm for 5 minutes.

- Transfer the supernatant to a new nuclease-free 1.5 mL centrifuge tube containing 100 μL of 100% isopropanol.

- Gently mix the solution by inverting the tube 30-40 times.

- Centrifuge at 13,000 x g for 1 minute at room temperature. DNA will be visible as a small white pellet.

- Pour out the supernatant and drain the tube briefly on a clean absorbent paper towel. Add 100 μL of 70% ethanol and invert the tube few times to wash the DNA pellet.

- Centrifuge at 13,000 x g for 2 minutes at room temperature. Carefully pour off the ethanol. Pellet may be very loose at this point, so pour slowly and watch the pellet.

- Invert the tube on a clean absorbent paper towel and air dry the pellet for 10-15 minutes

- Add 35 μL of Elution Buffer and vortex for 1 minute to mix.

- Incubate sample at 65 ℃ for 10 min. Some samples may need to incubate at 65 ℃ for 1 hour to rehydrate DNA.

- Store DNA at 2-8 ℃. For long-term storage, store at -20 ℃.

B. DNA Purification Protocol for 300 μL whole blood

Materials to be supplied by user

- Microcentrifuge capable of 14,000 x g

- Nuclease-free 1.5 mL microcentrifuge tubes

- Water Bath preset at 37℃ and 65℃

- Isopropanol

- 70% ethanol

Calculate the amount of Buffer ML to be used. Mix one part of 10 x Buffer ML with nine part of ddH2O before use.

- Add 300 μL whole blood (or bone marrow) to a nuclease-free 1.5 mL microcentrifuge tube containing 900 μL Buffer ML. Mix by inverting the tube a few times. Incubate 5 minutes at room temperature. Invert the tube several times during incubation.

Note: Buffer ML is supplied as a 10 x concentrate and must be diluted with ddH2O according to bottle label or Page 4 above before use.

- Centrifuge at 13,000 x g for 30 seconds at room temperature. Remove and discard as much supernatant as possible without disturbing the visible white pellet. Leave about 15 μL of residue liquid in the tube. If the blood sample has been frozen, repeat Steps 1-2 until the pellet is white.

Note: If some red blood cells or cell debris are still visible along with the white blood cell pellet, resuspend the white blood cell pellet and mix with 2 volumes Buffer ML. Incubate 2 min at room temperature. Then pellet the white blood cells by repeating Step 2.

- Vortex the tube vigorously until the white blood cells are completely resuspended. Add 300 μL Buffer NL to the tube containing the resuspended cells. Pipet up and down to lyse the cells. The solution should become very viscous. Add 1.5 μL RNase A to the cell lysate, mix well by sharp hand shaking for 5 times and incubate the solution at 37℃ for 10  min.  If cell clumps are visible, incubate the lysate at 37(C for another 5-10 min.

- Cool the sample to room temperature.

- Add 100 μL Buffer P2 to the cell lysate.

- Vortex vigorously at high speed for 30 seconds to mix. Some protein clumps may be visible after vortexing. Incubate in ice for 5 minutes.

- Centrifuge at 13,000 rpm for 5 minutes at room temperature. The precipitated protein will form a tight, dark brown pellet. If the pellet is not tight or visible, incubate the tube on ice for 5 minutes and centrifuge at 13,000 rpm for 5 minutes.

- Transfer the supernatant to a new nuclease-free 1.5 mL centrifuge tube containing 300 μL of 100% isopropanol.

- Gently mix the solution by inverting the tube 30-40 times.

- Centrifuge at 13,000 x g for 1 minute at room temperature. DNA will be visible as a small white pellet.

- Pour out the supernatant and drain the tube briefly on a clean absorbent paper towel. Add 300μL of 70% ethanol and invert the tube few times to wash the DNA pellet.

- Centrifuge at 13,000 x g for 2 minutes at room temperature. Carefully pour off the ethanol. Pellet may be very loose at this point, so pour slowly and watch the pellet.

- Invert the tube on a clean adsorbent paper towel and air dry the pellet for 10-15 minutes.

- Add 100 μL of Elution Buffer and vortex for 1 minute to mix.

- Incubate sample at 65℃ for 10 min. Some samples may need to incubate at 65℃ for 1-2 hour to rehydrate DNA.

- 18. Store DNA at 2-8℃. For long-term storage, store at -20℃.

C. DNA Purification Protocol for 600 μL whole blood

Materials to be supplied by user

- Microcentrifuge capable of 14,000 x g

- Nuclease-free 2.0 mL microcentrifuge tubes

- Water Bath preset at 37℃ and 65℃

- Isopropanol

- 70% ethanol

Calculate the amount of Buffer ML to be used. Mix one part of 10 x Buffer ML with nine part of ddH2O before use.

- Add 600 μL whole blood (or bone marrow) to a nuclease-free 2.0 mL microcentrifuge tube containing 1.2 mL Buffer ML. Mix by inverting the tube a few times. Incubate 5 minutes at room temperature. Invert the tube several times during incubation.

Note: Buffer ML is supplied as a 10 x concentrate and must be diluted with ddH2O according to bottle label or Page 4 above before use.

- Centrifuge at 13,000 x g for 30 seconds at room temperature. Remove and discard supernatant containing lysed red blood cells. Leave behind any supernatant that appears to contain non-lysed red blood cells.

- Vortex the tube vigorously until the cell pellet is completely resuspended.

- Add 1.2 mL Buffer ML to the tube and mix well by inverting the tube a few times. Incubate at room temperature for 2 minutes.

- Centrifuge at 13,000 x g for 30 seconds at room temperature. Remove and discard as much supernatant as possible without disturbing the visible white pellet. Leave about 15-20 μL of residue liquid in the tube. If the blood sample has been frozen, repeat Steps 1-5 until the pellet is white.

Note: If some red blood cells or cell debris are still visible along with the white blood cell pellet, resuspend the white blood cell pellet and mix with 2 volumes Buffer ML. Incubate 2 min at room temperature. Then pellet the white blood cells by repeating Step 2.

- Add 600 μL Buffer NL to the tube containing the resuspended cells. Pipet up and down to lyse the cells. The solution should become very viscous. Add 3 μL RNase A to the cell lysate, mix well by sharp hand shaking for 5 times and incubate the solution at 37℃ for 10  min.  If cell clumps are visible, incubate the lysate at 37(C for another 5-10 min.

- Cool the sample to room temperature. Add 200 μL Buffer P2 to the cell lysate.

- Vortex vigorously at high speed for 30 seconds to mix. Some protein clumps may be visible after vortexing. Incubate in ice for 5 minutes.

- Centrifuge at 13,000 rpm for 5 minutes at room temperature. The precipitated protein will form a tight, dark brown pellet. If the pellet is not tight or visible, incubate the tube on ice for 5 minutes and centrifuge at 13,000 rpm for 5 minutes.

- Transfer the supernatant to a new nuclease-free 2.0 mL centrifuge tube containing 600 μL of 100% isopropanol. Gently mix the solution by inverting the tube 30-40 times.

- Centrifuge at 13,000 x g for 1 minute at room temperature. DNA will be visible as a small white pellet.

- Pour of the supernatant and drain the tube briefly on a clean absorbent paper towel. Add 600 μL of 70% ethanol and invert the tube a few times to wash the DNA pellet.

- Centrifuge at 13,000 x g for 2 minutes at room temperature. Carefully pour off the ethanol. Pellet may be very loose at this point, so pour slowly and watch the pellet.

- Invert the tube on a clean adsorbent paper towel and air dry the pellet for 10-15 minutes.

- Add 100 μL of Elution Buffer and vortex for 1 minute to mix. Incubate sample at 65℃ for 10 min. Some samples may need to incubate at 65℃ for 1-2 hour to rehydrate DNA.

- Store DNA at 2-8℃. For long-term storage, store at -20℃.

D. DNA Purification Protocol for 1 mL Whole Blood

Materials to be supplied by user

- Centrifuge capable of 14,000 x g

- Nuclease-free 1.5 mL microcentrifuge tubes

- Water baths preset at 37℃ and 65℃

- Paper towels

- Isopropanol (100%)

- 70% ethanol

Calculate the amount of Buffer ML to be used. Mix one part of 10 x Buffer ML with nine part of ddH2O before use.

- Add 1 mL whole blood (or bone marrow) to a nuclease-free 15 mL centrifuge tube containing 3 mL Buffer ML. Mix by inverting the tube a few times. Incubate 5 minutes at room temperature. Invert the tube several times during incubation.

Note: Buffer ML is supplied as a 10 x concentrate and must be diluted with ddH2O according to bottle label or Page 4 above before use.

- Centrifuge at 2,000 x g for 5 minutes at room temperature. Remove and discard as much supernatant as possible without disturbing the visible white pellet. Leave about 100 μL of residue liquid in the tube. If the blood sample has been frozen, repeat Steps 1-2 until the pellet is white.

Note: If some red blood cells or cell debris are still visible along with the white blood cell pellet, resuspend the white blood cell pellet and mix with 2 volumes Buffer ML. Incubate 2 min at room temperature. Then pellet the white blood cells by repeating Step 2.

- Vortex the tube vigorously until the white blood cells are completely resuspended. Add 1 mL Buffer NL to the tube containing the resuspended cells. Pipet up and down to lyse the cells. The solution should become very viscous. Add 5 μL RNase A to the cell lysate, mix well by sharp hand shaking for 5 times and incubate the solution at 37℃ for 10  min.  If cell clumps are visible, incubate the lysate at 37(C for another 5-10 min.

- Cool the sample to room temperature.

- Add 335 μL Buffer P2 to the cell lysate.

- Vortex vigorously at high speed for 30 seconds to mix. Some protein clumps may be visible after vortexing.

- Centrifuge at 2,000 x g for 5 minutes at room temperature. The precipitated protein will form a tight, dark brown pellet. If the pellet is not tight or visible, incubate the tube on ice for 5 minutes and centrifuge at 2,000 x g for 5 minutes.

- Transfer the supernatant to a new nuclease-free 15 mL centrifuge tube containing 1 mL of 100% isopropanol. Do not transfer the protein pellet.

- Gently mix the solution by inverting the tube 40-50 times.

- Centrifuge at 2,000 x g for 3 minutes at room temperature. DNA will be visible as a small white pellet.

- Pour out the supernatant and drain the tube briefly on an absorbent paper towel. Add 1 mL of 70% ethanol and invert the tube a few times to wash the DNA pellet.

- Centrifuge at 2,000 x g for 2 minutes at room temperature. Carefully pour out the ethanol. Pellet may be very loose at this point, so pour slowly and be careful not to pour out the pellet.

- Invert the tube on a clean adsorbent paper towel and air dry the pellet for 10-15 minutes.

- Add 100 μL of Elution Buffer and vortex for 1 minute to mix.

- Incubate sample at 65℃ for -2 hour to rehydrate DNA. Gently shake tube several times during incubation to disperse DNA. Some samples may need to incubate at room temperature overnight to rehydrate DNA.

- Store DNA at 2-8℃. For long-term storage, store at -20℃.

E. DNA Purification Protocol for 3 mL Whole Blood

Materials to be supplied by user

- Nuclease-free 15 mL centrifuge tubes

- Water baths preset at 37℃ and 65℃

- Paper towels

- Isopropanol

- 70% ethanol

Calculate the amount of Buffer ML to be used. Mix one part of 10 x Buffer ML with nine part of ddH2O before use.

- Add 3 mL whole blood (or bone marrow) to a nuclease-free 15 mL centrifuge tube containing 9 mL Buffer ML. Mix by inverting the tube a few times. Incubate 5 minutes at room temperature. Invert the tube several times during incubation.

Note: Buffer ML is supplied as a 10 x concentrate and must be diluted with ddH2O according to bottle label or Page 4 above before use.

- Centrifuge at 2,000 x g for 5 minutes at room temperature. Remove and discard as much supernatant as possible without disturbing the visible white pellet. Leave about 150-200 μL of residue liquid in the tube. If the blood sample has been frozen, repeat Steps 1-2 until the pellet is white.

Note: Buffer ML is supplied as a 10 x concentrate and must be diluted with ddH2O according to bottle label or Page 4 above before use.

- Vortex the tube vigorously until the cell pellet is completely resuspended. Add 3 mL Buffer NL to the tube containing the resuspended cells. Pipet up and down to lyse the cells. The solution should become very viscous. Add 15 μL RNase A to the cell lysate, mix well by sharp hand shaking for 5 times and incubate the solution at 37℃ for 10  min.  If cell clumps are visible, incubate the lysate at 37(C for another 5-10 min.

- Cool the sample to room temperature.

- Add 1 mL Buffer P2 to the cell lysate

- Vortex vigorously at high speed for 30 seconds to mix. Some protein clumps may be visible after vortexing.

- Centrifuge at 2,000 x g for 5 minutes at room temperature. The precipitated protein will form a tight, dark brown pellet. If the pellet is not tight or visible, incubate the tube on ice for 5 minutes and centrifuge at 2,000 x g for 5 minutes.

- Transfer the supernatant to a new nuclease-free 15 mL centrifuge tube containing 3 mL of 100% isopropanol. Do not transfer the protein pellet.

- Gently mix the solution by inverting the tube 40-50 times.

- Centrifuge at 2,000 x g for 3 minutes at room temperature. DNA will be visible as a small white pellet.

- Pour out the supernatant and drain the tube briefly on an absorbent paper towel. Add 3 mL of 70% ethanol and invert the tube a few times to wash the DNA pellet.

- Centrifuge at 2,000 x g for 2 minutes at room temperature. Carefully pour out the ethanol. Pellet may be very loose at this point, so pour slowly and be careful not to pour out the pellet.

- Invert the tube on an adsorbent paper towel and air dry the pellet for 10- 15 minutes.

- Add 250 μL of Elution Buffer and vortex for 1 minute to mix.

- Incubate sample at 65℃ for 1 hour and room temperature for overnight to rehydrate DNA. Gently shake tube several times during incubation to disperse DNA.

- Store DNA at 2-8℃. For long-term storage, store at -20℃.

F.  DNA Purification Protocol for 5 mL Whole Blood

Materials to be supplied by user

- Centrifuge capable of 2,000 x g

- Nuclease-free 15 mL centrifuge tubes

- Water baths preset at 37℃ and 65℃

- Paper towels

- Isopropanol (100%)

- 70% ethanol

Calculate the amount of Buffer ML to be used. Mix one part of 10 x Buffer ML with nine part of ddH2O before use.

- Add 5 mL whole blood (or bone marrow) to a nuclease-free 50 mL microcentrifuge tube containing 15 mL Buffer ML. Mix by inverting the tube a few times. Incubate 5 minutes at room temperature. Invert the tube several times during incubation.

Note: Buffer ML is supplied as a 10 x concentrate and must be diluted to 1x working buffer with ddH2O before use.

- Centrifuge at 2,000 x g for 5 minutes at room temperature. Remove and discard as much supernatant as possible without disturbing the visible white pellet. Leave about 350 μL of residue liquid in the tube. If the blood sample has been frozen, repeat Steps 1-2 until the pellet is white.

Note: If some red blood cells or cell debris are still visible along with the white blood cell pellet, resuspend the white blood cell pellet and mix with 2 volumes Buffer ML. Incubate 2 min at room temperature. Then pellet the white blood cells by repeating Step 2.

- Vortex the tube vigorously until the white blood cells are completely resuspended.

- Add 5 mL Buffer NL to the tube containing the resuspended cells. Pipet up and down to lyse the cells. The solution should become very viscous. Add 25 μL RNase A to the cell lysate, mix well by sharp hand shaking for 5 times and incubate the solution at 37℃ for 10 min.  If cell clumps are visible, incubate the lysate at 37(C for another 5-10 min.

- Cool the sample to room temperature. Add 1.7 mL Buffer P2 to the cell lysate.

- Vortex vigorously at high speed for 30 seconds to mix. Some protein clumps may be visible after vortexing.

- Centrifuge at 2,000 x g for 5 minutes at room temperature. The precipitated protein will form a tight, dark brown pellet. If the pellet is not tight or visible, incubate the tube on ice for 5 minutes and centrifuge at 2,000 x g for 5 minutes.

- Transfer the supernatant to a new nuclease-free 15 mL centrifuge tube containing 5 mL of 100% isopropanol.  Do not transfer the protein pellet. Gently mix the solution by inverting the tube 40-50 times.

- Centrifuge at 2,000 x g for 3 minutes at room temperature.  DNA will be visible as a small white pellet.

- Pour out the supernatant and drain the tube briefly on an absorbent paper towel. Add 5 mL of 70% ethanol and invert the tube few times to wash the DNA pellet.

- Centrifuge at 2,000 x g for 2 minutes at room temperature. Carefully pour out the ethanol.  Pellet may be very loose at this point, so pour slowly and be careful not to pour out the pellet.

- Invert the tube on an adsorbent paper towel and air dry the pellet for 10-15 minutes.

- Add 500 μL of Elution Buffer and vortex for 1 minute to mix.

- Incubate sample at 65℃ for 1 hour and overnight at room temperature to rehydrate DNA. Gently shake tube several times during incubation to disperse DNA.

- Store DNA at 2-8℃. For long-term storage, store at -20℃.

G. DNA Purification Protocol for 12 mL Whole Blood

Materials to be supplied by user

- Centrifuge capable of 2,000 x g

- Nuclease-free 50 mL centrifuge tubes

- W ater baths preset at 37℃ and 65℃

- Paper towels

- Isopropanol  (100% )

- 70% ethanol

- Add 12 mL whole blood (or bone marrow) to a nuclease-free 50 mL microcentrifuge tube containing 36 mL Buffer ML.  Mix by inverting the tube 5 times. Incubate 5 minutes at room temperature. Invert the tube once every minute during incubation.

Note: Buffer ML is supplied as a 10 x concentrate and must be diluted with ddH2O according to bottle label or Page 4 above before use.

- Centrifuge at 2,000 x g for 5 minutes at room temperature. Remove and discard as much supernatant as possible without disturbing the visible white pellet. Leave about 350 μL of residue liquid in the tube. If the blood sample has been frozen, repeat Steps 1-2 until the pellet is white.

Note: If some red blood cells or cell debris are still visible along with the white blood cell pellet, resuspend the white blood cell pellet and mix with 2 volumes Buffer ML.  Incubate 2 min at room temperature. Then pellet the white blood cells by repeating Step 2.

- Vortex the tube vigorously until the white blood cells are completely resuspended.

- Add 12 mL Buffer NL to the tube containing the resuspended cells. Vortex for 2 minutes to lyse the cells. The solution should become very viscous. Add 50 μL RNase A to the cell lysate, mix well by sharp hand shaking for 5 times and incubate the solution at 37℃ for 10  min.  If cell clumps are visible, incubate the lysate at 37(C for another 5-10 min.

- Cool the sample to room temperature

- Add 4.0 mL Buffer P2 to the cell lysate.

- Vortex vigorously at high speed for 30 seconds to mix. Some protein clumps may be visible after vortexing.

- Centrifuge at 2,000 x g for 5 minutes at room temperature. The precipitated protein will form a tight, dark brown pellet. If the pellet is not tight or visible, incubate the tube on ice for 5 minutes and centrifuge at 2,000 x g for 5 minutes.

- Transfer the supernatant to a new nuclease-free 50 mL centrifuge tube containing 12 mL of 100% isopropanol.  Do not transfer the protein pellet.

- Gently mix the solution by inverting the tube 40-50 times.

- Centrifuge at 2,000 x g for 5 minutes at room temperature.  DNA will be visible as a small white pellet.

- Pour out the supernatant and drain the tube briefly on an absorbent paper towel. Add 12 mL of 70% ethanol and invert the tube 5 times to wash the DNA pellet.

- Centrifuge at 2,000 x g for 5 minutes at room temperature. Carefully pour out the ethanol.  Pellet may be very loose at this point, so pour slowly and be careful not to pour out the pellet.

Note: If the resulting pellets are loose, centrifuge at higher speed or with prolonged time.

- Invert the tube on an adsorbent paper towel and air dry the pellet for 10- 15 minutes.

- Add 1 mL of Elution Buffer and vortex for 1 minute to mix.

- Incubate sample at 65℃ for 1 hour and room temperature for overnight to rehydrate DNA. Gently shake tube several times during incubation to disperse DNA.

- Store DNA at 2-8℃.  For long-term storage, store at -20℃.

H.  DNA Purification Protocol for Buffy Coat (Prepared from 1-1.5 mL whole blood)

Materials to be supplied by user

- Microcentrifuge capable of 14,000 x g

- Nuclease-free 2.0 mL microcentrifuge tubes

- W ater Bath preset at 37℃ and 65℃

- Isopropanol

- 70% ethanol

The buffy coat fraction of whole blood is enriched with WBC, and usually gives at least 5-fold more DNA than the same volume of blood. To prepare buffy coat from fresh whole blood, simply centrifuge the sample at 3,000-4,000 x g for 10 min at room temperature. Three layers should be obtained, with plasma in the upper layer, leucocytes in the middle layer (buffy coat), and erythrocytes in bottom layer. Carefully aspirate the plasma, making sure not to disturb the layer of concentrated leukocytes. The buffy coat can be drawn off with a pipette and used directly in the EZgeneTM Blood gDNA Protocol, or frozen at -70℃ for storage.

- Add 75-120 µL buffy coat preparation (prepared from 1.5 mL whole blood) to a nuclease-free 2 mL microcentrifuge tube containing 400 μL Buffer ML. Mix by inverting the tube a few times. Incubate 5 minutes at room temperature. Invert the tube several times during incubation.

Note: Buffer ML is supplied as a 10 x concentrate and must be diluted with ddH2O according to bottle label or Page 4 above before use.

- Centrifuge at 14,000 x g for 30 seconds at room temperature. Remove and discard as much supernatant as possible without disturbing the visible white pellet. Leave about 15 μL of residue liquid in the tube. If the blood sample has been frozen, repeat Steps 1-2 until the pellet is white.

Note: If some red blood cells or cell debris are still visible along with the white blood cell pellet, resuspend the white blood cell pellet and mix with 2 volumes Buffer ML. Incubate 2 min at room temperature. Then pellet the white blood cells by repeating Step 2.

- Vortex the tube vigorously until the white blood cells are completely resuspended.

- Add 1.3 mL Buffer NL to the tube containing the resuspended cells. Pipet up and down to lyse the cells. The solution should become very viscous. Add 5 μL RNase A to the cell lysate, mix well by sharp hand shaking for 5 times and incubate the solution at 37℃ for 10  min.  If cell clumps are visible, incubate the lysate at 37(C for another 5-10 min.

- Cool the sample to room temperature. Add 433 μL Buffer P2 to the cell lysate.

- Vortex vigorously at high speed for 30 seconds to mix. Some protein clumps may be visible after vortexing. Incubate in ice for 5 minutes.

- Centrifuge at 14,000 x g for 5 minutes at room temperature. The precipitated protein will form a tight, dark brown pellet. If the pellet is not tight or visible, incubate the tube on ice for 5 minutes and centrifuge at 14,000 x g for 5 minutes.

- Transfer the supernatant to a new nuclease-free 2.0 mL centrifuge tube containing 1.3 mL of 100% isopropanol. Gently mix the solution by inverting the tube 30-40 times.

- Centrifuge at 14,000 x g for 1 minute at room temperature. DNA will be visible as a small white pellet. Pour out the supernatant and drain the tube briefly on a clean absorbent paper towel. Add 1.3 mL of 70% ethanol and invert the tube a few times to wash the DNA pellet.

- Centrifuge at 14,000 x g for 2 minutes at room temperature. Carefully pour off the ethanol. Pellet may be very loose at this point, so pour slowly and watch the pellet.

- Invert the tube on a clean adsorbent paper towel and air dry the pellet for 10-15 minutes.

- Add 500 μL of Elution Buffer and vortex for 1 minute to mix. Incubate sample at 65℃ for 1 hour and room temperature for overnight to rehydrate DNA. Gently shake tube several times during incubation to disperse DNA.

- Store DNA at 2-8℃. For long-term storage, store at -20℃

I. DNA Purification from 50 μL Clotted Blood

- Transfer the 50 μL blood include any liquid residual into a 1.5 mL
centrifuge tube.

- Add 550 μL Buffer NL and pipet up an down few times to mix.

- Add 3 µL Proeinase K solution (25 mg/mL) （not supplied） and mix by inverting 20 times.

- Incubate at 55℃ for 1 hour to overnight until clots has dissolved.

- Place the tube on ice for 1 minute.

- Add 3 µL RNase A to the cell lysate and invert 10 time to mix throughly. Incubate the tube at 37℃ for 5 minutes.

- Place the tube on ice for 1 minute.

- Add 200 µL Buffer P2 to the cell lysate.

- Vortex vigorously at high speed for 30 seconds to mix. Some protein clumps may be visible after vortexing.  Incubate in ice for 5 minutes.

- Centrifuge at max speed for 5 minutes at room temperature. The precipitated protein will form a tight, dark brown pellet. If the pellet is not tight or visible, incubate the tube in ice for 5 minutes and repeat this step.

- Transfer the supernatant to a new nuclease-free 2.0 mL centrifuge tube containing 600 µL of 100% isopropanol. If the DNA yield is expected to be lower than 2 µg, add 2 μL of glycogen (20 mg/mL) per sample.

- Gently mix the solution by inverting the tube 30-40 times. Centrifuge at 14,000 x g for 1 minute at room temperature. DNA will be visible as a small white pellet.

- Pour of the supernatant and drain the tube briefly on a clean absorbent paper towel. Add 600 µL of 70% ethanol and invert the tube a few times to wash the DNA pellet.

- Centrifuge at 14,000 x g for 2 minutes at room temperature. Carefully pour off the ethanol. Pellet may be very loose at this point, so pour slowly and watch the pellet.

- Invert the tube on a clean adsorbent paper towel and air dry the pellet for 10-15 minutes.

- Add 20 µL of Elution Buffer and vortex for 1 minute to mix.

- Incubate sample at 65℃ for 1 hour and room temperature for overnight to rehydrate DNA. Gently shake tube several times during incubation to disperse DNA.

- Store DNA at 2-8℃. For long-term storage, store at -20℃.

J. DNA Purification from 1mL Clotted Blood

- Transfer 1 mL clotted blood include any liquid residual into a 50 mL centrifuge tube.

- Add 11 mL Buffer NL and pipet up and down few times to mix.

- Add 50 µL Proeinase K solution (25 mg/mL) （not supplied） and mix by inverting 20 times.

- Incubate at 55℃ for 3 hour to overnight until clots has dissolved.

- Place the tube on ice for 1-2 minutes.

- Add 50 µL RNase A to the cell lysate and invert 10 time to mix throughly. Incubate the tube at 37℃ for 5 minutes.

- Place the tube on ice for 1-2 minutes.

- Add 4 mL Buffer P2 to the cell lysate.

- Vortex vigorously at high speed for 30 seconds to mix. Some protein clumps may be visible after vortexing. Incubate in ice for 10 minutes.

- Centrifuge at 2000 x g for 10 minutes at room temperature. The precipitated protein will form a tight, dark brown pellet. If the pellet is not tight or visible, incubate the tube in ice for 5 minutes and repeat this step.

- Transfer the supernatant to a new 50 mL centrifuge tube containing12 mL of 100% isopropanol. Add 20 µL of glycogen (20 mg/mL) per sample.

- Gently mix the solution by inverting the tube 30-40 times. Centrifuge at 2000 x g for 5 minutes at room temperature. DNA will be visible as a small white pellet.

- Pour of the supernatant and drain the tube briefly on a clean absorbent paper towel. Add 12 mL of 70% ethanol and invert the tube a 5 times to wash the DNA pellet.

- Centrifuge at 2000 x g for 2 minutes at room temperature. Carefully pour off the ethanol. Pellet may be very loose at this point, so pour slowly and watch the pellet.

- Invert the tube on a clean adsorbent paper towel and air dry the pellet for 10-15 minutes.

- Add 400 µL of Elution Buffer and vortex for 1 minute to mix.

- Incubate sample at 65℃ for 1 hour and room temperature for overnight to rehydrate DNA. Gently shake tube several times during incubation to disperse DNA.

- Store DNA at 2-8℃. For long-term storage, store at -20℃.

K. DNA Purification from large volume (>1mL) Clotted Blood

- Transfer the clotted blood include any liquid residual into a 50 mL centrifuge tube.

- Homogenize the sample with a rotor-stator homogenizer until the sample is uniformLy homogenous

- Add 3 volumes of 1 x Buffer ML and mix by invert the tube 5-7 times.

- Incubate at RT for 5 minutes.

- Centrifuge at 2000 x g for 5 minutes

- Discard the supernatant and leave the tube inverted on a clean absorbent paper for 2 minutes. Make sure that the pellet remains in the tube.

- Add 5 mL Buffer NL and 50 µL Proteinase K solution (25 mg/mL)（not supplied）, close the cap and vortex immediately until the pellet is completely homogenized.

Note: When processing multiple samples, vortex each tube immediately after addition of Buffer NL/ Proteinase K. Do not wait until buffer has been added to all samples before vortexing. Although the pellet can be easily homogenized with 3-4 pulses of high-speed vortexing, however, traces of pellet with a jelly-like consistency (often barely visible) may remain. If these traces are seen, vortex sample for another 30 seconds.

- Incubate the tube at 65℃ for 30 minutes in a water bath or heating block.

- Add 50 µL RNase A to the cell lysate and invert 10 time to mix thoroughly. Incubate the tube at room temperature for 5 minutes.

- Add 1.7 mL Buffer P2. Mix by vortexing for 15 seconds.

- Place the tube on ice for 10 minutes.

- Centrifuge at 2000-4000 x g for 10 minutes to pellet the protein.

- Transfer the supernatant to a new 50 mL tube, add 4.75 mL of isopropanol and mix gently by invert the tube 20-30 times. DNA precipitate will become visible as threads or a clump.

- Centrifuge at 2000 -4000 x g for 10 minutes to pellet the DNA.

- Discard the supernatant and briefly invert the tube onto a clean absorbent paper, make sure the DNA pellet remains inside the tube.

- Add 5 mL 70% ethanol and vortex for 10 seconds.

- Centrifuge at 2000-4000 x g for 5-10 minutes.

- Discard the supernatant and invert the tube onto a clean absorbent paper for 5 minutes, make sure the DNA pellet remains inside the tube.

- Air dry the DNA pellet until all liquid are evaporated. Do not over dry the pellet because it is very difficult to dissolve the over-dried DNA pellet.

- Add 1 mL Elution Buffer, vortex 5 seconds at lower speed. Dissolve the DNA by incubating 1 hour at 65℃ and overnight at room temperature.

Determination of  Yield  and  Quality

The total DNA yield can be determined by a spectrophotometer using deionized water, Tris-HCl buffer, or Elution Buffer as blank. Dilute the DNA in TE buffer and calculate concentration as:

[DNA] = (Absorbance260) x (0.05 µg/µL) x (Dilution factor)

The quality of DNA can be assessed by measuring absorbance at both 260 nm and at 280 nm. A ratio of (A260/A280) of 1.7-1.9 corresponds to 85%-95% purity.

Expected yields range from 4 µg to 12 µg DNA per 250µL whole blood, depending on source of sample, its age, and the method of storage. Yields are generally 5-fold higher with Buffy Coat samples.

Trouble Shooting Guide

| Problem | Possible Cause | Suggestions |
| --- | --- | --- |
| Low DNA yield | Blood Sample contains too few white blood cells | Draw new blood samples. |
|  | Blood sample is too old. | Try to use fresh blood if possible. |
|  | Incompletely resuspended white blood cell pellet before adding Buffer NL. | Vortex vigorously to completely resuspend white blood cell. |
|  | DNA pellet was lost during isopropanol precipitation | Be very careful not to lose the DNA when removing isopropanol or ethanol during precipitation and wash steps. |
| Low A260/A280 ratio | The sample was not cooled to room temperature before adding Buffer P2 | Cool the sample to room temperature or chill on ice for at least 5 minutes before adding Buffer P2. |
|  | Poor cell lysis due to incomplete mixing with Buffer NL | Repeat the procedure, this time making sere to vortex the sample with Buffer NL immediately and completely. |
|  | Hemoglobin remains | Repeat the procedure, this time making sure enough volume of ML is used and white blood cell pellet is white in color. |
|  | Buffer P2 was not mixed with Buffer NL throughly | Make sure that Buffer P2 and cell lysate is mixed throughly. |
| No DNA | DNA pellet was lost during isopropanol precipitation | Be very careful not to lose the DNA when removing isopropanol or ethanol during precipitation and wash steps. |
| DNA Pellet is difficult to dissolve | DNA pellet was over dried | Rehydrate the DNA by incubating the DNA pellet with EB Buffer at 65℃ for 1 hour and then leave the sample at room temperature or 4℃ for overnight. |
|  | DNA pellet was not mixed well during rehydration step | Shake a few times during the rehydration step. |